## Slide 1: Modeling progress
27.05.2021

## Slide 2: Case-study
2 buildings on 24h
  Electricity
  Domestic hot water
  Heat space
2 inputs
  Electricity grid
  Fuel (natural gas)
2 converters
  Heat pump
  CHP
2 storages
  Battery
  Hot water storage

## Slide 3: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 4: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 5: Abstract model
Definition of the model with AMPL format as:
Example for OPTIM-EASE

## Slide 6: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 7: Sets created
Time : [1, 24]
SubTime : [2, 24]
Buildings : [1, 2]
UConv : CHP, HP
Conv : CHP1-2-3, HP1-2-3
UStor : Battery, Hot water
Stor : Battery1-2-3, Hot water1-2-3
Techs : CHP1-2-3, HP1-2-3, Battery1-2-3, Hot water1-2-3
In : Electricity grid, Natural gas
InCategory : elec, fuel
Out : elec, sh, dhw
OutCategory : elec, heat
Heat : sh, dhw
HP : HP1-2-3
CHP : CHP1-2-3
Battery, HW
ElecIn : HP1-2-3, Battery1-2-3
ElecOut : Battery1-2-3
FuelIn : CHP1-2-3
HeatIn : Hot water1-2-3
HeatOut : HP1-2-3, Hot water1-2-3
Fuels : Natural gas
Elec : Electricity grid
Hypothesis : max 3 of the same technology /building

## Slide 8: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 9: Parameters
Inputs
Converters
Storage
.dat file used in the code is created with python script data_extraction.py from an excel file

## Slide 10: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 11: Variables
Hypothesis : every technology can interact with others (except itself)
Tinp (Time, In) : quantity of input consumed per time
ElecTech (Time, Building, ElecIn) : quantity of electricity from electricity grid that goes in every technologies per building that need it, per time
FuelTech (Time, Fuels, Building, FuelIn) : quantity of each fuel that goes in technologies that need it, per time and per building
FeedIn (Time, Building, ElecOut+CHP) : quantity of electricity that is sold to the grid, per time and per building
TechCapacity (Building, Techs) : capacity of the technology
TechUse (Building, Techs) : use binary on the whole horizon
TechUset (Building, Time, Techs) : use binary per time
Switch (Building, Time, CHP+HP) : Integer (-1, 0, 1) wich describe the transition between on and off state for CHP and HP per time (not used yet)
TechIn (Building, Time, Techs) : quantity of power received by every technology (except heat-in) per time
TechOut (Building, Time, Techs) : quantity of power out of every technology (except CHP and heat-out) per time
TechHeatInG (Building, Time, HeatIn, Heat) : quantity of heat received by corresponding technologies per time
TechHeatOutG (Building, Time, HeatOut, Heat) : quantity of heat out of corresponding technologies per time
TechCHPOut (Building, Time, CHP, Out) : quantity of power out of CHP technologies per time

## Slide 12: Variables
Hypothesis : every technology can interact with others (except itself)
SOC (Building, Time, Battery) : state of charge of the battery per time
SOCdhw (Building, Time, HW) : state of charge of the HW dhw storage per time
SOCsh (Building, Time, HW) : state of charge of the HW sh storage per time
TechFlow (Building, Time, Tech, Techs, Out) : quantity of electricity/heat moving from a technology A to a technology B at a specific time and in a specific building
DemElec (Building, Time, Elec+ElecOut+CHP) : quantity of electricity satisfying the demand per time and its origins, per building
DemSH (Building, Time, HeatOut+CHP) : quantity of heat satisfying the demand of SH per time and its origins, per building
DemDHW (Building, Time, HeatOut+CHP) : quantity of heat satisfying the demand of DHW per time and its origins, per building

## Slide 13: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 14: Constraints
Demand satisfaction
Link between the flows (heat-out, heat-in, elec-out, elec-in, …)
Constraining a technology not to provide itself
Bounding the capacity + introduction of the use binary (whole horizon)
Bounding the output of the technologies with the capacity chosen
  For HW : SOC for SH storage and SOC for DHW storage <= capacity chosen /2
HP model (see next page)
  SH relation (priority to DHW)
CHP model (similar to HP)
SOC definition for batteries, SH and DHW storage for HW (see next page)
SOCs initial and final state to 0
1st definition of the use binary per time : zero if whole use binary at 0

## Slide 15: HP model
SH (out)
« 3 » : random number

## Slide 16: Storage model
SOCBt+1 = SOCBt + ηBc * PBct − (1/ηBd ) * PBdt
SOCBt = SOCBt-1 + ηBc * PBct − (1/ηBd ) * PBdt
SPF model
(urbs model)

## Slide 17: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 18: Objective function: costs
Inputs consumed (l 517)
Maintenance costs (l 518)
Installation costs (l 519, 522)
Planification costs (l 520, 523)
Investment costs (l 521, 524)
Feed-in costs (l 525)

## Slide 19: Objective function: emissions
Global warming potential applied to outputs (l 529-534)

## Slide 20: Mutli-objective optimization: sigma-constraint method
Definition of functions A and B
Deactivation of function A
Optimization: max of function A registered
Activation of function A, deactivation of function B
Optimization: min of function A registered
Deactivation of function A, activation of function B
Optimization with constraint of function A between min and max
Plot of the Pareto front

## Slide 22: Pyomo operation
Model creation | ConcreteModel() or AbstractModel().
Sets definition | Lists of “things” that define the problem.
Parameters definition | Inputs data.
Variables definition | Variables that will be optimized.
Constraints definition | 
Objective function creation | Defined as a constraint. Can be maximized or minimized, no automatic multi-objective optimization. Activation/deactivation of the functions is possible.
Model resolution | Different solvers can be used.

## Slide 23: Resolution